## Sheet1
Camera module mounted on Albert's calibration mount, bolted to grid board. Grid board is not fixed to table. Table will not be moved due to impracticality of moving table.
Laser module is mounted to rails. Distance between camera and laser can be changed. Rail and centerline of camera mount are aligned with laser
Imprecision in laesr mount and rail installation are significant in location of crosshairs. At beginning of each DX iteration, we will change location of camera module to capture crosshairs.
Rotation of either module is not changed.
Independent variable: Distance between modules
|  | Camera <Ax,Ay,Az> not of concern | [7 empty] | Accelerometer axes are: x facing other module, z vertical, y accordingly determined
DX | Img file | Phone deg (mount slab) | Novo 1 [in] | Novo 2 [in] | Novo 3 [in] | Novo 4 [in] | Pixel_X | Pixel_Y |  | Novo's represent differential displacements of camera module in Albert's mount.
8.5 | 59 | 0.7 | 0 | 0 | 0 | 0 | -1 | -1 |  | Facing Laser module, behind camera module, [LR, UR, UL, LL] = Novo [1,2,3,4]
| 60 |  | 0 | 0 | 0 | 0 | -1 | -1
| 61 |  | 0 | 0 | 0 | 0 | -1 | -1
| 62 | 0.5 | -0.501 | -0.502 | -0.501 | -0.503 | -1 | -1
| 63 |  | -0.501 | -0.502 | -0.501 | -0.503 | -1 | -1
| 64 |  | -0.501 | -0.502 | -0.501 | -0.503 | -1 | -1
| 65 | 0.7 | -1.007 | -1.005 | -1.001 | -1.008 | -1 | -1
| 66 |  | -1.007 | -1.005 | -1.001 | -1.008 | -1 | -1
| 67 |  | -1.007 | -1.005 | -1.001 | -1.008 | -1 | -1
| 73 | 0.7 | -1.007 | -1.005 | -1.001 | -1.008 | -1 | -1
| 74 |  | -1.007 | -1.005 | -1.001 | -1.008 | -1 | -1
| 75 |  | -1.007 | -1.005 | -1.001 | -1.008 | -1 | -1
| 77 | 0.8 | -1.513 | -1.509 | -1.504 | -1.512 | -1 | -1
| 78 |  | -1.513 | -1.509 | -1.504 | -1.512 | -1 | -1
| 79 |  | -1.513 | -1.509 | -1.504 | -1.512 | -1 | -1
| 80 | 0.6 | -1.256 | -1.255 | -1.253 | -1.26 | 310.7143 | 198.5714
| 81 |  | -1.256 | -1.255 | -1.253 | -1.26 | 313.7778 | 199.6
| 82 |  | -1.256 | -1.255 | -1.253 | -1.26 | 313 | 198.1
| 83 |  | -1.256 | -1.255 | -1.253 | -1.26 | 313.3333 | 197.8
8 | 84 | 0.3 | 0 | 0 | 0 | 0 | 130.7778 | 244
| 85 |  | 0 | 0 | 0 | 0 | 129.3333 | 245.6364
| 86 |  | 0 | 0 | 0 | 0 | 129.2857 | 249.4286
| 87 |  | 0 | 0 | 0 | 0 | 130.8889 | 246.7273
| 88 | 0.4 | -0.255 | -0.251 | -0.251 | -0.252 | 174.625 | 249.375
| 89 |  | -0.255 | -0.251 | -0.251 | -0.252 | 172.6667 | 247.8182
| 90 |  | -0.255 | -0.251 | -0.251 | -0.252 | 172.8889 | 249.2727
| 91 |  | -0.255 | -0.251 | -0.251 | -0.252 | 177.1429 | 248
| 92 | 0.5 | -0.505 | -0.5 | -0.502 | -0.506 | 213.8889 | 249.1
| 93 |  | -0.505 | -0.5 | -0.502 | -0.506 | 211 | 252.3636
| 94 |  | -0.505 | -0.5 | -0.502 | -0.506 | 210.7778 | 259
| 95 |  | -0.505 | -0.5 | -0.502 | -0.506 | 212.5 | 255.75
| 96 | 0.2 | -0.753 | -0.755 | -0.756 | -0.752 | 255.5556 | 253.7
| 97 |  | -0.753 | -0.755 | -0.756 | -0.752 | 256.3333 | 253.9
| 98 |  | -0.753 | -0.755 | -0.756 | -0.752 | 256.1111 | 254.1
| 99 |  | -0.753 | -0.755 | -0.756 | -0.752 | 256.4444 | 254.1
| 100 | 0.3 | -1.004 | -1.007 | -1.006 | -1.001 | 297.8889 | 252.8
| 101 |  | -1.004 | -1.007 | -1.006 | -1.001 | 298.6667 | 252.8
| 102 |  | -1.004 | -1.007 | -1.006 | -1.001 | 298.1111 | 253.4545
| 103 |  | -1.004 | -1.007 | -1.006 | -1.001 | 298 | 252.8
| 104 | 0.4 | -1.251 | -1.251 | -1.253 | -1.254 | 334.4444 | 247.75
| 105 |  | -1.251 | -1.251 | -1.253 | -1.254 | 339.5556 | 250.8182
| 107 |  | -1.251 | -1.251 | -1.253 | -1.254 | 338.7778 | 250.1818
| 108 |  | -1.251 | -1.251 | -1.253 | -1.254 | 336.8889 | 246.4167
7.5 | 113 | 0.1 | 0 | 0 | 0 | 0 | 270.8889 | 306.8333
| 114 |  | 0 | 0 | 0 | 0 | 272 | 306.1667
| 115 |  | 0 | 0 | 0 | 0 | 272.8571 | 308.8889
| 116 |  | 0 | 0 | 0 | 0 | 271.125 | 306
| 117 | 0.3 | -0.255 | -0.251 | -0.253 | -0.25 | 313.5556 | 307.4545
| 118 |  | -0.255 | -0.251 | -0.253 | -0.25 | 313.1111 | 306.75
| 119 |  | -0.255 | -0.251 | -0.253 | -0.25 | 312.8889 | 307.9091
| 120 |  | -0.255 | -0.251 | -0.253 | -0.25 | 313.2222 | 305.6667
| 121 | 0.3 | -0.503 | -0.5 | -0.503 | -0.501 | 350.6667 | 310.7778
| 122 |  | -0.503 | -0.5 | -0.503 | -0.501 | 354.8889 | 311.2727
| 123 |  | -0.503 | -0.5 | -0.503 | -0.501 | 355 | 307.7273
| 124 |  | -0.503 | -0.5 | -0.503 | -0.501 | 355.1111 | 307.1818
| 125 | 0.2 | -1.009 | -1.006 | -1.005 | -1.002 | 442.8571 | 314.8571
| 126 |  | -1.009 | -1.006 | -1.005 | -1.002 | 437.1111 | 314.8333
| 127 |  | -1.009 | -1.006 | -1.005 | -1.002 | 436.1111 | 316.8182
| 128 |  | -1.009 | -1.006 | -1.005 | -1.002 | 440.25 | 318.7
| 129 | 0.3 | -1.251 | -1.252 | -1.249 | -1.252 | 477 | 315.9167
| 130 |  | -1.251 | -1.252 | -1.249 | -1.252 | 477.7778 | 316.8333
| 131 |  | -1.251 | -1.252 | -1.249 | -1.252 | 477.1111 | 317.5455
| 132 |  | -1.251 | -1.252 | -1.249 | -1.252 | 481.75 | 316.5556
7 | 133 | 0.2 | -0.5 | -0.5 | -0.503 | -0.502 | 63.375 | 292.4167 | Moved camera module horizontally to capture crosshairs
| 134 |  | -0.5 | -0.5 | -0.503 | -0.502 | 91.8571 | 290.4444 | Not beginning at 0 in order to capture crosshairs. Tared to 0 initially.
| 135 |  | -0.5 | -0.5 | -0.503 | -0.502 | 90.25 | 293.0909
| 136 |  | -0.5 | -0.5 | -0.503 | -0.502 | 62.75 | 291.6667
| 137 | 0.3 | -0.752 | -0.751 | -0.756 | -0.754 | 126.4444 | 290.875
| 138 |  | -0.752 | -0.751 | -0.756 | -0.754 | 103.2222 | 294.9167
| 139 |  | -0.752 | -0.751 | -0.756 | -0.754 | 103.1111 | 295.4167
| 140 |  | -0.752 | -0.751 | -0.756 | -0.754 | 103.75 | 291.3333
| 141 | 0.4 | -0.852 | -0.849 | -0.854 | -0.852 | 120.5714 | 295.6667
| 142 |  | -0.852 | -0.849 | -0.854 | -0.852 | 123 | 294.9167
| 143 |  | -0.852 | -0.849 | -0.854 | -0.852 | 121 | 294.9167
| 144 |  | -0.852 | -0.849 | -0.854 | -0.852 | 121.1111 | 295
| 145 | 0.3 | -1.001 | -1 | -1.004 | -0.994 | 146.6667 | 293.6
| 146 |  | -1.001 | -1 | -1.004 | -0.994 | 148.375 | 292.2
| 147 |  | -1.001 | -1 | -1.004 | -0.994 | 147.2222 | 293.1
| 148 |  | -1.001 | -1 | -1.004 | -0.994 | 146.7778 | 293.5
| 149 | 0.3 | -1.251 | -1.25 | -1.253 | -1.252 | 186 | 296.5455
| 150 |  | -1.251 | -1.25 | -1.253 | -1.252 | 186.8889 | 296.0909
| 151 |  | -1.251 | -1.25 | -1.253 | -1.252 | 185.6667 | 295.8182
| 152 |  | -1.251 | -1.25 | -1.253 | -1.252 | 185.7778 | 295.5455